[image: image1.png]




Items Required for Building Permit

1. Complete Building Permit Application

2. 2 Complete Sets of Plans

3. Contractors Information

Copy of Trade Licenses

Copy of Drivers Licenses

Copy of Insurance

All Building Permit & Inspection fees to be paid at time of application

No application will be accepted without all required information.
                      
  Submittal Requirements Check List
1. Site Plan ( North Arrow Required)

A. Show location and dimensions, in feet, of all property lines, right-of-way lines, and public and private easements

B. Show location and dimension of all structures, drives (both existing and proposed)

2. Floor Plan

A. Drawing of building accurately depicting the proposed walls, size of doors and windows, the use of all rooms, location of smoke detectors

3. Foundation Plan

A. Detail of width and depth of footing (including rebar size and placement)

B. Detail of stem wall (including rebar size and placement)

C. Detail of all interior footings and/ or thickened slab (including rebar size and placement)

4. Structural Plan

A. Structural plans showing the essential building framework (size of wall studs, size of floor/ and ceiling members, and size of headers at doors and windows) 

5. Exterior Elevation Plans

A. Drawings shall be an accurate depiction of the final “look” of the structure
















Phone (405) 288-6675
Email:  jason@townofgoldsby.com                    Fax:  (405) 288-2100


100 E. Center Rd.


Goldsby, OK  73093


